## Slide 1
Edge Intelligence for Medical Diagnostics using FPGA & AI
A Lightweight & Real-Time Healthcare Revolution
Praveen Kumar
Notes: 1

## Slide 2
What Ties All the Research Together?
Our research explores the transformative potential of integrating Edge Intelligence with Field-Programmable Gate Arrays (FPGAs) and Artificial Intelligence (AI) to revolutionize medical diagnostics. This approach focuses on real-time, low-power solutions directly at the point of care.
Medical Diagnosis with Edge Intelligence
Breast Cancer Detection
Ultrasound + CNN on FPGA
Heart Sound Segmentation
PCG + FPGA, Real-time
Parkinson's Detection
Voice + ML, Low-power
Handheld Ultrasound
FPGA + SAI, Portable
Multimodal IoMT System
Audio, Text, Image + DNN
Notes: 2

## Slide 3
Comparing the Core Technologies
A comparative overview of the underlying technologies across various research papers highlights their unique contributions to the field of edge-AI healthcare.
Problem Addressed
Input Modality
Processing Unit
Hardware
Real-time?
Target Use Case
Breast Cancer
Ultrasound
CNN
FPGA
✅
Mobile Clinics
Heart Sound Seg.
PCG Audio
DSP Algorithm
FPGA
✅
Wearable Devices
Parkinson's Det.
Voice
ML Model
Android/Edge
✅
Home Monitoring
Handheld Ultrasound
Ultrasound
SAI (AI)
FPGA
✅
Rural Areas
Multimodal IoMT
Audio, Text, Image
DNN
SoC (System on Chip)
✅
Remote Diagnosis
Notes: 3

## Slide 4
Typical Edge-AI Healthcare Pipeline
This generalized pipeline illustrates how various medical data modalities are processed from sensor input to intelligent output, leveraging edge AI and FPGA capabilities for efficient and timely diagnostics.
Sensor/Input
Voice, Ultrasound, PCG
Preprocessing on FPGA
Noise reduction, feature extraction
CNN / ML Model
On-device inference
4
Output to Mobile / Screen
Real-time results
Cloud Feedback
Data aggregation, model updates
Notes: 4

## Slide 5
Key Learnings & Future Scope
Key Takeaways
  FPGA = Low Power + Real-Time: Essential for portable and resource-constrained medical devices.
  Edge AI Efficiency: CNN/ML models can run on edge devices with effective compression techniques.
  Accessible Healthcare: AI solutions enable reliable diagnosis even in low-resource environments.
  Portability is a Game-Changer: Enhances diagnostic reach and patient convenience.
What’s Next
Add Security Modules
Explore LSTM / Transformer blocks for complex data
Train on Diverse Regional Data
Optimize with TinyML for even smaller footprints
Notes: 5

## Slide 6
Summary & What This Means
The integration of Edge AI and FPGA technologies promises to democratize healthcare by making advanced diagnostics more accessible and efficient.
“Edge AI + FPGA enables affordable, fast, and reliable diagnosis for all — from urban hospitals to rural clinics.”
Thank You
Praveen Kumar
Notes: 6

## Slide 7
Exploring New Horizons: Our Innovative Projects
Beyond our core research, we are actively developing groundbreaking projects that push the boundaries of edge intelligence in healthcare and environmental monitoring. These initiatives leverage our expertise in FPGAs and AI to address critical real-world challenges.
The Critical Path: Neurological Co-processor Development
Revolutionizing brain-computer interfaces with dedicated co-processing units for real-time neural data analysis.
Project Sentinel: Eco-Acoustic Monitoring
Utilizing advanced acoustic sensors and AI for real-time biodiversity monitoring and environmental health assessment.
Project Prana: Digital Olfaction System-on-Chip
Developing compact, intelligent systems capable of 'smelling' and analyzing complex chemical signatures for diagnostic applications.
Notes: 7

## Slide 8
The Critical Path: Neurological Co-processor Development
Our strategic analysis identifies key pathways for developing a real-time, low-power co-processor for decoding neurological biomarkers, focusing on accelerated clinical impact.
Hardware-Algorithm Co-Design
Develop heterogeneous ASICs with advanced architectures for real-time processing, leveraging Quantization-Aware Training and Hardware-Aware NAS.
Clinical Biomarker Validation
Conduct rigorous, parallel clinical research to validate multi-modal biomarkers (vocal, motor, cognitive) across diverse patient populations.
Regulatory & Ethical Compliance
Adhere to stringent FDA medical device regulations, ensuring privacy-by-design through on-device processing and federated learning.
Notes: 8

## Slide 9
Project Sentinel: Eco-Acoustic Monitoring
This initiative proposes deploying thousands of low-cost, autonomous sentinel devices for real-time ecosystem monitoring, combining ultra-low-power hardware with on-device AI.
Four Core Pillars:
  Microwatt-Power SoC: Event-driven hardware for extreme power conservation.
  On-Device AI Brain: Lightweight CRNN for species & threat identification.
  Global LPWAN Network: LoRaWAN for remote, low-power data transmission.
  Event-Driven Data Platform: Scalable cloud for real-time insights.
Development Roadmap (Phased):
1
SoC & AI Co-Design
De-risk core tech, develop/benchmark AI, verify on FPGA.
2
Prototype & Field Validation
Manufacture, test, and deploy initial prototypes in controlled environments.
3
Pilot Network Deployment
Partner with conservation groups for real-world deployment (1,000 units).
4
Scaling for Global Impact
Mass production, "Sentinel Kit," and data platform expansion.
Notes: 9

## Slide 10
Project Prana: Digital Olfaction System-on-Chip
Project Prana aims to grant machines a digital sense of smell using a Digital Olfaction System-on-Chip (SoC) for instantaneous diagnostics.
The Digital Olfaction Imperative
Leveraging Volatile Organic Compounds (VOCs) as chemical fingerprints for early cancer detection, metabolic disorder monitoring, food safety, and environmental analysis.
The Core Invention: Prana SoC
An SoC integrating high-sensitivity multi-channel sensor interfaces, a power-efficient neuromorphic core (SNNs), and on-chip self-calibration for sensor-agnostic support (MOS, CP sensors).
Execution Blueprint & Roadmap
A "Data-First" approach building a "Scent-Print" library, focusing on a "Platform, Not Product" strategy with low-cost, battery-powered handheld devices and an event-driven data pipeline.
Strategic Recommendations
Embrace a platform model via SoC licensing and APIs, prioritize the "data moat" by continuously enriching the Scent-Print library, and lead with a high-impact application for undeniable value.
Notes: 10

## Slide 11
Further Reading & References
To delve deeper into the foundational research and innovative projects discussed, here are key academic publications and their contributing authors.
Medical Diagnostics & Edge AI
"Portable and Cost-Effective Handheld Ultrasound System Utilizing FPGA-Based Synthetic Aperture Imaging"W. Wang & Z. Feng, Sichuan University.
"Low-Cost FPGA Implementation of Deep Learning-Based Heart Sound Segmentation for Real-Time CVDs Screening"D. Enériz et al., IEEE, Spain.
"FPGA SoC Implementation of Adaptive Deep Neural Network based Multimodal Edge Intelligence for Internet of Medical Things"N. B. Gaikwad et al., Aalborg University, University of Southern Denmark.
Specialized Applications & Hardware
"An FPGA Prototype for Parkinson’s Disease Detection Using Machine Learning on Voice Signal"M. Khan et al., Aligarh Muslim University, Bennett University.
"A Lightweight Deep Convolutional Neural Network Implemented on FPGA and Android Devices for Detection of Breast Cancer Using Ultrasound Images"A. Vinod et al., Birla Institute of Technology and Science.
"Hardware Design of Lightweight Binary Classification Algorithms for Small-Size Images on FPGA"S. Saglam & S. Bayar, University of Southampton, Marmara University.
Our innovative projects, "Project Sentinel: Eco-Acoustic Monitoring" and "The Critical Path: Neurological Co-processor Development," are inspired by critical global challenges highlighted by the UN Sustainable Development Goals (SDG 14: Life Below Water & SDG 15: Life on Land) and The World Health Organization & The Lancet Commission on global mental health and neurological disorders.